City of Kiel

621 Sixth Street

Kiel, WI 53042

General Plumbing

Application for General Plumbing Plan Review and

Cross Connection Assembly

Registration

### -Complete all pages-

NOTE:  Personal information you provide may be used for

secondary purposes [Privacy Law s. 15.04(1)(m), Stats.]

| 1. This form is to be used for mailing or dropping off plans. Check our website at for the most current version of this form. We may defer plans to DSPS if needed to reasonably balance turnaround times. You may email technical code questions to dspssbplbgtech@wi.gov. Plan Type: New Permission to Start Addition/Alteration Revision to Previously Approved plan where approved construction has not been completed. | Previously Related Transaction # Trans ID: Assigned Reviewer: Assigned Office: Reviewer Start Date*: |
| --- | --- |
| 2. Project Information – Fill in all known information Project/Site Name : Number & Street: City of |  |
| 3. Mailing Information Call Customer 1 2 3 (check one number)* Mail Plans to customer 1 2 3 Requesting Customer will pick up *Refers to customer listed below |  |
| 4. Complete the following customer information in the boxes below. |  |

| Designer Information (Customer 1) (Person who stamped the plan) | Contact Person or Other, Please Specify (Customer 3) |
| --- | --- |
| First Name Last Name Customer ID Number Company Name: Address: City: State: Zip + 4 (9 digits): Phone Number (Area Code): Email Address: | First Name Last Name Customer ID Number Company Name: Address: City: State: Zip + 4 (9 digits): Phone Number (Area Code): Email Address: |
|  | Make checks payable to: City of Kiel and attach to the application and plans. |
| Owner Information (Customer 2) | Invoice Designer, who will be personally responsible for payment. Designer Signature: Total amount due (from page ) $ Minimum Fee $85.00 (except for Cross Control Connection Registrations In Non-Health Care and related facilities) - $30.00 |
| First Name Last Name Customer ID Number Company Name: Address: City: State: Zip + 4 (9 digits): Phone Number (Area Code): Email Address: |  |

Additional Building Specific Items Next Page

Optional Service-of Permission to Start Requested:

As the owner, I request to begin plumbing installations prior to plan review approval I agree to make any changes required after plans have been reviewed, and to remove or replace any non-code complying construction and make revisions to plans on any changes. I will not permit any installation to exceed 18 inches above the unexcavated floor.

Request is for the following specific plumbing installations:

Sanitary Sewer;

Private interceptor main sewer(s);

Storm Sewer;

Water service;

Private water main;

Interior building drain;

Interior water service;

Interior water distribution.

Owner’s Signature: ____________________________________ Date: _____________

| 5. BUILDING SPECIFIC INFORMATION |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| New Addition/Alteration Revision to Previously Approved plan where approved construction has not been completed Project is Apartment/Condo only Healthcare and Related Facility Multiple identical buildings Number of identical buildings being submitted |  |  |  |  |  |  |
| Indicate Building/Tenant Designation for Each Building and/or Tenant Space (Attach Additional Pages if Necessary) |  |  |  |  |  |  |
| B | Building/Facility Name/Designation | Previous Tenant Name |  |  | Building/Facility Address |  |
|  |  |  |  |  | Fee Computations (doubled for installation without approval) Check appropriate box and enter fee Calculate the fees separately for each building |  | Required Fee |
| Item Description – Indicate items included with this submittal for this building. |  |  |  |  |  |  |  |
| Indicate here the total number of interior fixtures, including roof drains and hose bibs being submitted for this building: TOTAL # |  |  |  |  |  |  |  |
| 6. BUILDING SPECIFIC SANITARY: Select ONE of the following six options and enter the corresponding diameter or Drainage Fixture Units (DFU) and enter fee |  |  |  |  |  |  |  |
| 1. Interior Sanitary Drain and Vent System and Exterior Sanitary Building Sewer |  |  |  |  | Diameter of sanitary building sewer(s) in inches x $50 |  |  |
| 2. Interior Sanitary Drain and Vent system only |  |  |  |  | Diameter of sanitary building sewer, in inches, required to serve the building. x $50 |  |  |
| 3. Exterior Sanitary Building Sewer(s) only |  |  |  |  | Diameter of sanitary building sewer(s) in inches x $30 |  |  |
| 4. Interior Sanitary Drain and Vent system within an addition or remodeled building |  |  |  |  | DFU’s new, added or relocated See fee Table 1 on page 4 to convert DFU to a fee |  |  |
| 5. Multiple exterior Sanitary Building Sewers serving the single building, and the interior Sanitary Drain and Vent system |  |  |  |  | DFU’s new, added or relocated See fee Table 1 on page 4 to convert DFU to a fee |  |  |
| 6. Interior Sanitary Drain and Vent System with multiple building drains exiting the building. No exterior sanitary sewers |  |  |  |  | DFU’s new, added or relocated See fee Table 1 on page 4 to convert DFU to a fee |  |  |
| 7. BUILDING SPECIFIC WATER: Select ONE of the following six options and enter the corresponding diameter or Gallons Per Minute (GPM) and enter fee |  |  |  |  |  |  |  |
| 1. Interior Water Distribution system and exterior Water Service |  |  |  |  | Diameter of exterior water service in inches, or if serving a combination domestic and fire sprinkler system, enter diameter of interior water distribution immediately after the meter or at the building control valve in inches x $50 |  |  |
| 2. Interior Water Distribution system, no exterior Water Service |  |  |  |  | Diameter of interior water distribution immediately after the meter or at the building control valve in inches x $50 |  |  |
| 3. Exterior Water Service(s), no interior Water Distribution system |  |  |  |  | Diameter of exterior water service in inches x $30 |  |  |
| 4. Interior Water Distribution system within an addition or remodeled building, no exterior Water Service |  |  |  |  | GPM added or relocated See fee Table 2 on page 4 to convert GPM to a fee |  |  |
| 5. Multiple exterior Water Services serving the single building, and the interior Water Distribution system |  |  |  |  | GPM See fee Table 2 on page 4 to convert GPM to a fee |  |  |
| 6. Interior Water Distribution system with multiple services exiting the building, no exterior Water Services. |  |  |  |  | GPM See fee Table 2 on page 4 to convert GPM to a fee |  |  |
| 8. Indicate the number of items below included with this submittal. Note : * no additional fee if submitted with Sanitary Drain & Vent |  |  |  |  |  |  |  |
| Grease Interceptor |  |  |  | Number of Grease Interceptors x $85*, |  |  |  |
| Garage Catch Basin |  |  |  | Number of Garage Catch Basins x $85*, |  |  |  |
| Oil Interceptor |  |  |  | Number of Oil Interceptors x $85*, n |  |  |  |
| Car Wash Interceptor |  |  |  | Number of Car Wash Interceptors x $85*, |  |  |  |
| Sanitary Dump Station |  |  |  | Number of Sanitary Dump Stations x $85*, |  |  |  |
| Mixed Wastewater Holding Devices |  |  |  | Number of Mixed Wastewater Holding Devices x $85*, |  |  |  |
| Chemical System |  |  |  | Number of Chemical Systems x $85*, |  |  |  |

Additional Building Specific Items Next Page

| Page Fee Subtotal Number of identical buildings X above Fee Subtotal (carry to bottom of Page 3) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 9. SITE SPECIFIC INFORMATION: |  |  |  |  |
| Check and complete diameter information if included in this submittal |  | Fee Computation (doubled for installation without approval) (Check appropriate box and make fee computation. |  | Required Fee |
| Indicate total number of exterior fixtures such as storm drain inlets submitted with this application Check all that apply: Interior storm drain system with a clearwater drain system (if submitting interior storm only, use the roof area to determine the drainage area for fees.) Interior storm drain system without a Clearwater drain system (if submitted interior storm only, use the roof area to determine the drainage area for fees.) Storm Building Sewer Storm Private Interceptor Main Sewer |  | Drainage area served by the storm plumbing system is (check one and enter corresponding information) |  |  |
|  |  | A. Less than or equal to 1 acre drainage to the plumbing system with a single discharge point diameter at discharge point in inches x $15/inch |  |  |
|  |  | B. Less than or equal to 1 acre drainage to the plumbing system with multiple discharge points Total GPM discharge. See Table 3 on next page to convert GPM to fee |  |  |
|  |  | C. Greater than 1 acre drainage to the plumbing system. Acres See Table 4 on next page to convert acres to a fee NOTE: Maintenance plan submittal required. |  |  |
|  |  | - If submitting infiltration WITHOUT storm, calculate the corresponding fee |  |  |
| Clearwater drain system without an interior storm drain system |  | In A, B, or C above as if you were submitting those elements and enter here . Add $200 and enter the total fee in the fee column. |  |  |
|  |  | $15/inch diameter of each Clearwater drain system inches x $15/inch |  |  |
| SANITARY |  |  |  |  |
| Submittal of Sanitary Private Interceptor Main Sewer Indicates the number of independent connections to the municipal sewer or POWTS |  | Sum of largest PIMS diameters in inches x $30/inch Compute for each independent system and total) |  |  |
| WATER |  |  |  |  |
| Private Water Main Indicate the number of independent connections to the municipal water main or well pressure tank |  | Sum of water main diameters in inches x $30/inch (Compute for each independent system and total) |  |  |
| 10. If the submittal is for a Mobile/Manufactured Home Community and/or Campground/Recreational Vehicle Park, indicate the number of sites and enter fee: |  |  |  |  |
| Mobile/Manufactured Home Park and/or Campground/Recreational Vehicle Park | Required Fee | Mobile/Manufactured Home Park and/or Campground/Recreational Vehicle Park | Required Fee |  |
| 1-25 Sites | $300 | 51-125 Sites | $400 |  |
| 26-50 Sites | $350 | Greater than 125 | $500 |  |
| Mobile/Manufactured Home Park and/or Campground/Recreational Vehicle Park submittal includes: |  |  |  |  |
| Sanitary Dump Station Exterior Water Service Exterior Sanitary Sewer Private Water Main Sanitary Private Interceptor Main Sewer |  |  |  |  |
| 11. OTHER FEES |  |  |  |  |
| Permission to Start |  | A fee for Permission to Start be charged at a rate of $80 per hour (Minimum $80.00) |  |  |
| Plan Approval Extension (1 year maximum) |  | $120 |  |  |
| Revision to previously approved plans (List Regulated Object Number(s) from the approval letter that are being revised) |  | $85 Required – NOTE: Plus $80,00 per hour. |  |  |
| Subtotal From Page 2 (include subtotals from additional Page 2s if used) |  |  |  |  |
| Enter Total Fee Here and at Bottom of First Page |  |  |  |  |

Table 1                                                                                 Table 3

| STORM GALLONS PER MINUTE (GPM) FEE TABLES |  |  |
| --- | --- | --- |
| GPM | Diameter | Fee (diameter X $15/inch) |
| 1-50 | 3 | $45 |
| 51-115 | 4 | $60 |
| 116-195 | 5 | $75 |
| 196-320 | 6 | $90 |
| 321-700 | 8 | $120 |
| 701-1300 | 10 | $150 |
| 1301-2200 | 12 | $180 |
| 2201-4050 | 15 | $225 |
| 4051-6700 | 18 | $270 |
| 6701-9880 | 21 | $315 |
| 9881-14700 | 24 | $360 |

| DRAINAGE FIXTURE UNIT (DFU ) FEE TABLE |  |  |
| --- | --- | --- |
| DFU | Pipe Diameter | Fee (diameter X $50) |
| 1 | 1 1/4 | $50 |
| 2-3 | 1 1/2 | $65 |
| 4-6 | 2 | $75 |
| 7-20 | 3 | $150 |
| 21-160 | 4 | $200 |
| 161-360 | 5 | $250 |
| 361-620 | 6 | $300 |
| 621-1400 | 8 | $400 |
| 1401-2500 | 10 | $500 |
| 2501-3900 | 12 | $600 |

Table 2                                                                                    Table 3

| STORM AREA FEE TABLE |  |
| --- | --- |
| Acres (area drained to a plumbing system) | Fee |
| Greater than 1 to 5 | $350 |
| Greater than 5 to 15 | $500 |
| Greater than 15 | $600 |

WATER DISTRIBUTION FEE TABLE

Table 302.64-2

GPM Fee

1 to 6 ..................... $25.00

7 to 12 ..................... $35.00

13 to 21 ..................... $50.00

22 to 31 ..................... $60.00

32 to 46 ..................... $75.00

47 to 77 ................... $100.00

78 to 119 ................... $125.00

120 to 170 ................... $150.00

171 to 298 .......... $175.00

- PLAN SUBMITTAL SHALL INCLUDE THE FOLLOWING IN ACCORD WITH CODE SECTION SPS 382.20. Two complete sets of plumbing plans and specifications (including detailed information on types of materials and fixtures) (maximum of five). Make sure your submittal is complete! Incomplete submittals will result in delays or loss of appointment.

Plans shall include: - Plot plan showing size and pitch of sanitary and/or storm sewer and water. - Floor plan showing horizontal drains, water distribution lines, and all fixtures and equipment to be installed. - 30/60isometric diagrams of the drain, vent and water distribution systems. Indicate water supply and drainage fixture unit loads at each change in pipe diameter. - Complete water calculations in accord with SPS 382.40 (7). - Complete storm drain sizing calculations in accordance with SPS 382.36 (5). - Remodeling or additions shall include existing loads. - Water Quality Management Letter if required by SPS 382.20 (4) (b). - For storm water plans, submit appropriate architectural roof drainage plans, site grade run off plans and contour lines showing what is drained to the plumbing system. Show all pipe sizes and discharge rates after every inlet. - For infiltration systems, submit Soil and Site Evaluation Form SBD-10793. - All plans must be properly signed per SPS 382.20 (4)(c). Plans involving more than one sheet must be BOUND into sets. - For water re-use submittals include information requested in the product approval. - Complete sizing calculations for all grease interceptors.